{"text_format":"2","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":52,"n_cols":3,"rows_kept":52,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
[null,"Наименование ИБП","Расшифровка наименования."]
[null,null,"Батарея считается при 100% нагрузке, power factor 0.7"]
[null,null,"MBS - Mechanical By-pass switch - щиток сервисного байпаса"]
[]
[1022547,"Eaton (Powerware) 9155-8I-S-10-32x7Ah-MBS ","ИБП 8 кВА, 1ф/1ф, батарея на 10 мин, 5 лет  + MBS "]
[1022548,"Eaton (Powerware) 9155-8I-S-15-32x9Ah-MBS ","ИБП 8 кВА, 1ф/1ф, батарея на 15 мин, 5 лет  + MBS "]
[1022549,"Eaton (Powerware) 9155-8I-S-28-64x7Ah-MBS ","ИБП 8 кВА, 1ф/1ф, батарея на 28 мин, 5 лет  + MBS "]
[1022550,"Eaton (Powerware) 9155-8I-S-33-64x9Ah-MBS ","ИБП 8 кВА, 1ф/1ф, батарея на 33 мин, 5 лет  + MBS "]
[1022465,"Eaton (Powerware) 9155-10I-S-6-32x7Ah-MBS ","ИБП 10 кВА, 1ф/1ф, батарея на 6 мин, 5 лет  + MBS "]
[1022551,"Eaton (Powerware) 9155-10I-S-10-32x9Ah-MBS ","ИБП 10 кВА, 1ф/1ф, батарея на 10 мин, 5 лет  + MBS "]
[1022552,"Eaton (Powerware) 9155-10I-S-20-64x7Ah-MBS ","ИБП 10 кВА, 1ф/1ф, батарея на 20 мин, 5 лет  + MBS "]
[1022553,"Eaton (Powerware) 9155-10I-S-25-64x9Ah-MBS ","ИБП 10 кВА, 1ф/1ф, батарея на 25 мин, 5 лет  + MBS "]
[]
[1022554,"Eaton (Powerware) 9155-8I-SL-10-32x7Ah-MBS","ИБП 8 кВА, 1ф/1ф, батарея на 10 мин, 10 лет  + MBS "]
[1022555,"Eaton (Powerware) 9155-8I-SL-28-64x7Ah-MBS ","ИБП 8 кВА, 1ф/1ф, батарея на 28 мин, 10 лет  + MBS "]
[1022556,"Eaton (Powerware) 9155-10I-SL-6-32x7Ah-MBS","ИБП 10 кВА, 1ф/1ф, батарея на 6 мин, 10 лет  + MBS "]
[1022557,"Eaton (Powerware) 9155-10I-SL-20-64x7Ah-MBS ","ИБП 10 кВА, 1ф/1ф, батарея на 20 мин, 10 лет  + MBS "]
[]
[1022532,"Eaton (Powerware) 9155-8I-S-10-32x7Ah ","ИБП 8 кВА, 1ф/1ф, батарея на 10 мин, 5 лет  "]
[1022533,"Eaton (Powerware) 9155-8I-S-15-32x9Ah ","ИБП 8 кВА, 1ф/1ф, батарея на 15 мин, 5 лет  "]
[1022534,"Eaton (Powerware) 9155-8I-S-28-64x7Ah ","ИБП 8 кВА, 1ф/1ф, батарея на 28 мин, 5 лет  "]
[1022535,"Eaton (Powerware) 9155-8I-S-33-64x9Ah ","ИБП 8 кВА, 1ф/1ф, батарея на 33 мин, 5 лет  "]
[1022464,"Eaton (Powerware) 9155-10I-S-6-32x7Ah ","ИБП 10 кВА, 1ф/1ф, батарея на 6 мин, 5 лет  "]
[1022536,"Eaton (Powerware) 9155-10I-S-10-32x9Ah ","ИБП 10 кВА, 1ф/1ф, батарея на 10 мин, 5 лет  "]
[1022537,"Eaton (Powerware) 9155-10I-S-20-64x7Ah ","ИБП 10 кВА, 1ф/1ф, батарея на 20 мин, 5 лет  "]
[1022538,"Eaton (Powerware) 9155-10I-S-25-64x9Ah ","ИБП 10 кВА, 1ф/1ф, батарея на 25 мин, 5 лет  "]
[]
[1022539,"Eaton (Powerware) 9155-8I-SL-10-32x7Ah ","ИБП 8 кВА, 1ф/1ф, батарея на 10 мин, 10 лет  "]
[1022540,"Eaton (Powerware) 9155-8I-SL-28-64x7Ah ","ИБП 8 кВА, 1ф/1ф, батарея на 28 мин, 10 лет  "]
[1022541,"Eaton (Powerware) 9155-10I-SL-6-32x7Ah ","ИБП 10 кВА, 1ф/1ф, батарея на 6 мин, 10 лет  "]
[1022542,"Eaton (Powerware) 9155-10I-SL-20-64x7Ah ","ИБП 10 кВА, 1ф/1ф, батарея на 20 мин, 10 лет  "]
[]
[1022543,"Eaton (Powerware) 9155-8I-ST-0-32x0Ah ","ИБП 8 кВА, 1ф/1ф, без батарей  + встроенный трансформатор"]
[1022544,"Eaton (Powerware) 9155-8I-ST-14-32x9Ah ","ИБП 8 кВА, 1ф/1ф, батарея на 14 мин, 5 лет + трансформатор"]
[1022545,"Eaton (Powerware) 9155-10I-ST-0-32x0Ah ","ИБП 10 кВА, 1ф/1ф, без батарей  + встроенный трансформатор"]
[1022546,"Eaton (Powerware) 9155-10I-ST-10-32x9Ah встроенные батареи на 10 мин","ИБП 10 кВА, 1ф/1ф, батарея на 10 мин, 5 лет + трансформатор"]
[]
[1023110,"Eaton (Powerware) 9155-8I-ST-0 ","ИБП 8 кВА, 1ф/1ф, без батарей  + встроенный трансформатор"]
[1023111,"Eaton (Powerware) 9155-10I-ST-0","ИБП 10 кВА, 1ф/1ф, без батарей  + встроенный трансформатор"]
[]
[1022526,"Eaton (Powerware) 9155-8I-S-0-32x0Ah","ИБП 8 кВА, 1ф/1ф, место для 1 комплекта батарей  "]
[1022527,"Eaton (Powerware) 9155-8I-S-0-64x0Ah ","ИБП 8 кВА, 1ф/1ф, место для 2 комплектов батарей  "]
[1022528,"Eaton (Powerware) 9155-10I-S-0-32x0Ah ","ИБП 10 кВА, 1ф/1ф, место для 1 комплекта батарей  "]
[1022529,"Eaton (Powerware) 9155-10I-S-0-64x0Ah ","ИБП 10 кВА, 1ф/1ф, место для 2 комплектов батарей  "]
[]
[1022530,"Eaton (Powerware) 9155-8I-SC-0 ","ИБП 8 кВА, 1ф/1ф, без батарей"]
[1022531,"Eaton (Powerware) 9155-10I-SC-0 ","ИБП 10 кВА, 1ф/1ф, без батарей"]
[]
[1022891,"Eaton (Powerware) 9155-8I-S-0-32x0Ah-MBS ","ИБП 8 кВА, 1ф/1ф, место для 1 комплекта батарей  + MBS"]
[1022892,"Eaton (Powerware) 9155-8I-S-0-64x0Ah-MBS ","ИБП 8 кВА, 1ф/1ф, место для 2 комплектов батарей  + MBS"]
[1022893,"Eaton (Powerware) 9155-10I-S-0-32x0Ah-MBS ","ИБП 10 кВА, 1ф/1ф, место для 1 комплекта батарей  + MBS"]
[1022894,"Eaton (Powerware) 9155-10I-S-0-64x0Ah-MBS ","ИБП 10 кВА, 1ф/1ф, место для 2 комплектов батарей  + MBS"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}