{"text_format":"2","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":29,"n_cols":3,"rows_kept":29,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
[null,"Наименование ","Расшифровка наименования."]
[null,null,"ИБП для паралелльной работы Hotsync, максимум 4 шт"]
[null,null,"Батарея считается при 100% нагрузке, power factor 0.7"]
[]
[1024153,"Eaton (Powerware) 9155-1x8-SHS-15-32x9Ah SYSTEM","ИБП 8 кВА, 1ф/1ф, батарея на 15 мин, 5 лет  "]
[1024157,"Eaton (Powerware) 9155-1x8-SHS-33-64x9Ah SYSTEM","ИБП 8 кВА, 1ф/1ф, батарея на 33 мин, 5 лет  "]
[1024161,"Eaton (Powerware) 9155-1x10-SHS-10-32x9Ah SYSTEM","ИБП 10 кВА, 1ф/1ф, батарея на 10 мин, 5 лет  "]
[1024165,"Eaton (Powerware) 9155-1x10-SHS-25-64x9Ah SYSTEM","ИБП 10 кВА, 1ф/1ф, батарея на 25 мин, 5 лет  "]
[]
[1024169,"Eaton (Powerware) 9155-1x8-SLHS-10-32x7Ah SYSTEM","ИБП 8 кВА, 1ф/1ф, батарея на 10 мин, 10 лет  "]
[1024173,"Eaton (Powerware) 9155-1x8-SLHS-28-64x7Ah SYSTEM","ИБП 8 кВА, 1ф/1ф, батарея на 28 мин, 10 лет  "]
[1024177,"Eaton (Powerware) 9155-1x10-SLHS-6-32x7Ah SYSTEM","ИБП 10 кВА, 1ф/1ф, батарея на 6 мин, 10 лет  "]
[1024181,"Eaton (Powerware) 9155-1x10-SLHS-20-64x7Ah SYSTEM","ИБП 10 кВА, 1ф/1ф, батарея на 20 мин, 10 лет  "]
[]
[1024185,"Eaton (Powerware) 9155-1x8-SHS-0-32x0Ah SYSTEM","ИБП 8 кВА, 1ф/1ф, место для 1 комплекта  батарей"]
[1024189,"Eaton (Powerware) 9155-1x8-SHS-0-64x0Ah SYSTEM","ИБП 8 кВА, 1ф/1ф, место для 2 комплектов  батарей"]
[1024193,"Eaton (Powerware) 9155-1x10-SHS-0-32x0Ah SYSTEM","ИБП 10 кВА, 1ф/1ф, место для 1 комплекта  батарей"]
[1024197,"Eaton (Powerware) 9155-1x10-SHS-0-64x0Ah SYSTEM","ИБП 10 кВА, 1ф/1ф, место для 2 комплектов  батарей"]
[]
[1024201,"Eaton (Powerware) 9155-1x8-SCHS-0 SYSTEM","ИБП 8 кВА, 1ф/1ф, без батарей"]
[1024205,"Eaton (Powerware) 9155-1x10-SCHS-0 SYSTEM","ИБП 10 кВА, 1ф/1ф, без батарей"]
[]
[1026890,"Eaton (Powerware) 9155-8I-STHS-0-32x0Ah","ИБП 8 кВА, 1ф/1ф, место для 1 комплекта батарей, с трансформатором"]
[1026891,"Eaton (Powerware) 9155-8I-STHS-14-32x9Ah","ИБП 8 кВА, 1ф/1ф, батарея на 14 мин, с трансформатором"]
[1026892,"Eaton (Powerware) 9155-10I-STHS-0-32x0Ah","ИБП 10 кВА, 1ф/1ф, место для 1 комплекта батарей, с трансформатором"]
[1026893,"Eaton (Powerware) 9155-10I-STHS-10-32x9Ah","ИБП 10 кВА, 1ф/1ф, батарея на 10 мин, с трансформатором"]
[]
[1026894,"Eaton (Powerware) 9155-8I-STHS-0","ИБП 8 кВА, 1ф/1ф, без батарей, с трансформатором"]
[1026895,"Eaton (Powerware) 9155-10I-STHS-0","ИБП 10 кВА, 1ф/1ф, без батарей, с трансформатором"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}