{"text_format":"2","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":84,"n_cols":3,"rows_kept":84,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
[null,"Наименование ","Расшифровка наименования."]
[null,null,"Батарея считается при 100% нагрузке, power factor 0.7"]
[null,null,"MBS - Mechanical By-pass switch - щиток сервисного байпаса"]
[]
[1022507,"Eaton (Powerware) 9155-8I-N-10-32x7Ah-MBS ","ИБП 8 кВА, 3ф/1ф, батарея на 10 мин, 5 лет  + MBS "]
[1022508,"Eaton (Powerware) 9155-8I-N-15-32x9Ah-MBS ","ИБП 8 кВА, 3ф/1ф, батарея на 15 мин, 5 лет  + MBS "]
[1022509,"Eaton (Powerware) 9155-8I-N-28-64x7Ah-MBS ","ИБП 8 кВА, 3ф/1ф, батарея на 28 мин, 5 лет  + MBS "]
[1022510,"Eaton (Powerware) 9155-8I-N-33-64x9Ah-MBS ","ИБП 8 кВА, 3ф/1ф, батарея на 33 мин, 5 лет  + MBS "]
[1022467,"Eaton (Powerware) 9155-10I-N-6-32x7Ah-MBS ","ИБП 10 кВА, 3ф/1ф, батарея на 6 мин, 5 лет  + MBS "]
[1022511,"Eaton (Powerware) 9155-10I-N-10-32x9Ah-MBS ","ИБП 10 кВА, 3ф/1ф, батарея на 10 мин, 5 лет  + MBS "]
[1022512,"Eaton (Powerware) 9155-10I-N-20-64x7Ah-MBS ","ИБП 10 кВА, 3ф/1ф, батарея на 20 мин, 5 лет  + MBS "]
[1022513,"Eaton (Powerware) 9155-10I-N-25-64x9Ah-MBS ","ИБП 10 кВА, 3ф/1ф, батарея на 25 мин, 5 лет  + MBS "]
[1022514,"Eaton (Powerware) 9155-12I-N-8-32x9Ah-MBS ","ИБП 12 кВА, 3ф/1ф, батарея на 8 мин, 5 лет  + MBS "]
[1022515,"Eaton (Powerware) 9155-12I-N-15-64x7Ah-MBS ","ИБП 12 кВА, 3ф/1ф, батарея на 15 мин, 5 лет  + MBS "]
[1022516,"Eaton (Powerware) 9155-12I-N-20-64x9Ah-MBS ","ИБП 12 кВА, 3ф/1ф, батарея на 20 мин, 5 лет  + MBS "]
[1022517,"Eaton (Powerware) 9155-15I-N-5-32x9Ah-MBS ","ИБП 15 кВА, 3ф/1ф, батарея на 5 мин, 5 лет  + MBS "]
[1022518,"Eaton (Powerware) 9155-15I-N-10-64x7Ah-MBS","ИБП 15 кВА, 3ф/1ф, батарея на 10 мин, 5 лет  + MBS "]
[1022519,"Eaton (Powerware) 9155-15I-N-15-64x9Ah-MBS ","ИБП 15 кВА, 3ф/1ф, батарея на 15 мин, 5 лет  + MBS "]
[]
[1022520,"Eaton (Powerware) 9155-8I-NL-10-32x7Ah-MBS ","ИБП 8 кВА, 3ф/1ф, батарея на 10 мин, 10 лет  + MBS "]
[1022521,"Eaton (Powerware) 9155-8I-NL-28-64x7Ah-MBS ","ИБП 8 кВА, 3ф/1ф, батарея на 28 мин, 10 лет  + MBS "]
[1022522,"Eaton (Powerware) 9155-10I-NL-6-32x7Ah-MBS ","ИБП 10 кВА, 3ф/1ф, батарея на 6 мин, 10 лет  + MBS "]
[1022523,"Eaton (Powerware) 9155-10I-NL-20-64x7Ah-MBS ","ИБП 10 кВА, 3ф/1ф, батарея на 20 мин, 10 лет  + MBS "]
[1022524,"Eaton (Powerware) 9155-12I-NL-15-64x7Ah-MBS ","ИБП 12 кВА, 3ф/1ф, батарея на 15 мин, 10 лет  + MBS "]
[1022525,"Eaton (Powerware) 9155-15I-NL-10-64x7Ah-MBS ","ИБП 15 кВА, 3ф/1ф, батарея на 10 мин, 10 лет  + MBS "]
[]
[1022480,"Eaton (Powerware) 9155-8I-N-10-32x7Ah ","ИБП 8 кВА, 3ф/1ф, батарея на 10 мин, 5 лет   "]
[1022481,"Eaton (Powerware) 9155-8I-N-15-32x9Ah ","ИБП 8 кВА, 3ф/1ф, батарея на 15 мин, 5 лет   "]
[1022482,"Eaton (Powerware) 9155-8I-N-28-64x7Ah ","ИБП 8 кВА, 3ф/1ф, батарея на 28 мин, 5 лет   "]
[1022483,"Eaton (Powerware) 9155-8I-N-33-64x9Ah ","ИБП 8 кВА, 3ф/1ф, батарея на 33 мин, 5 лет   "]
[1022466,"Eaton (Powerware) 9155-10I-N-6-32x7Ah ","ИБП 10 кВА, 3ф/1ф, батарея на 6 мин, 5 лет   "]
[1022484,"Eaton (Powerware) 9155-10I-N-10-32x9Ah ","ИБП 10 кВА, 3ф/1ф, батарея на 10 мин, 5 лет   "]
[1022485,"Eaton (Powerware) 9155-10I-N-20-64x7Ah ","ИБП 10 кВА, 3ф/1ф, батарея на 20 мин, 5 лет   "]
[1022486,"Eaton (Powerware) 9155-10I-N-25-64x9Ah ","ИБП 10 кВА, 3ф/1ф, батарея на 25 мин, 5 лет   "]
[1022487,"Eaton (Powerware) 9155-12I-N-8-32x9Ah ","ИБП 12 кВА, 3ф/1ф, батарея на 8 мин, 5 лет   "]
[1022488,"Eaton (Powerware) 9155-12I-N-15-64x7Ah ","ИБП 12 кВА, 3ф/1ф, батарея на 15 мин, 5 лет   "]
[1022489,"Eaton (Powerware) 9155-12I-N-20-64x9Ah ","ИБП 12 кВА, 3ф/1ф, батарея на 20 мин, 5 лет   "]
[1022490,"Eaton (Powerware) 9155-15I-N-5-32x9Ah ","ИБП 15 кВА, 3ф/1ф, батарея на 5 мин, 5 лет   "]
[1022491,"Eaton (Powerware) 9155-15I-N-10-64x7Ah ","ИБП 15 кВА, 3ф/1ф, батарея на 10 мин, 5 лет   "]
[1022492,"Eaton (Powerware) 9155-15I-N-15-64x9Ah ","ИБП 15 кВА, 3ф/1ф, батарея на 15 мин, 5 лет   "]
[]
[1022493,"Eaton (Powerware) 9155-8I-NL-10-32x7Ah ","ИБП 8 кВА, 3ф/1ф, батарея на 10 мин, 10 лет  + MBS "]
[1022494,"Eaton (Powerware) 9155-8I-NL-28-64x7Ah ","ИБП 8 кВА, 3ф/1ф, батарея на 28 мин, 10 лет  + MBS "]
[1022495,"Eaton (Powerware) 9155-10I-NL-6-32x7Ah ","ИБП 10 кВА, 3ф/1ф, батарея на 6 мин, 10 лет  + MBS "]
[1022496,"Eaton (Powerware) 9155-10I-NL-20-64x7Ah ","ИБП 10 кВА, 3ф/1ф, батарея на 20 мин, 10 лет  + MBS "]
[1022497,"Eaton (Powerware) 9155-12I-NL-15-64x7Ah ","ИБП 12 кВА, 3ф/1ф, батарея на 15 мин, 10 лет  + MBS "]
[1022498,"Eaton (Powerware) 9155-15I-NL-10-64x7Ah ","ИБП 15 кВА, 3ф/1ф, батарея на 10 мин, 10 лет  + MBS "]
[]
[1022499,"Eaton (Powerware) 9155-8I-NT-0-32x0Ah","ИБП 8 кВА, 3ф/1ф, без батарей  + встроенный трансформатор"]
[1022500,"Eaton (Powerware) 9155-8I-NT-14-32x9Ah ","ИБП 8 кВА, 3ф/1ф, батарея на 14 мин, 5 лет + трансформатор"]
[1022501,"Eaton (Powerware) 9155-10I-NT-0-32x0Ah","ИБП 10 кВА, 3ф/1ф, без батарей  + встроенный трансформатор"]
[1022502,"Eaton (Powerware) 9155-10I-NT-10-32x9Ah ","ИБП 10 кВА, 3ф/1ф, батарея на 10 мин, 5 лет + трансформатор"]
[1022503,"Eaton (Powerware) 9155-12I-NT-0-32x0Ah","ИБП 12 кВА, 3ф/1ф, без батарей + встроенный трансформатор"]
[1022504,"Eaton (Powerware) 9155-12I-NT-8-32x9Ah ","ИБП 12 кВА, 3ф/1ф, батарея на 8 мин, 5 лет + трансформатор"]
[1022505,"Eaton (Powerware) 9155-15I-NT-0-32x0Ah","ИБП 15 кВА, 3ф/1ф, без батарей + встроенный трансформатор"]
[1022506,"Eaton (Powerware) 9155-15I-NT-5-32x9Ah ","ИБП 15 кВА, 3ф/1ф, батарея на 5 мин, 5 лет + трансформатор"]
[]
[1023112,"Eaton (Powerware) 9155-8I-NT-0","ИБП 8 кВА, 3ф/1ф, без батарей  + встроенный трансформатор"]
[1023113,"Eaton (Powerware) 9155-10I-NT-0","ИБП 10 кВА, 3ф/1ф, без батарей  + встроенный трансформатор"]
[1023114,"Eaton (Powerware) 9155-12I-NT-0","ИБП 12 кВА, 3ф/1ф, без батарей  + встроенный трансформатор"]
[1023115,"Eaton (Powerware) 9155-15I-NT-0","ИБП 15 кВА, 3ф/1ф, без батарей  + встроенный трансформатор"]
[]
[1022468,"Eaton (Powerware) 9155-8I-N-0-32x0Ah","ИБП 8 кВА, 3ф/1ф, место для 1 комплекта батарей  "]
[1022469,"Eaton (Powerware) 9155-8I-N-0-64x0Ah","ИБП 8 кВА, 3ф/1ф, место для 2 комплектов батарей  "]
[1022470,"Eaton (Powerware) 9155-10I-N-0-32x0Ah","ИБП 10 кВА, 3ф/1ф, место для 1 комплекта батарей  "]
[1022471,"Eaton (Powerware) 9155-10I-N-0-64x0Ah","ИБП 10 кВА, 3ф/1ф, место для 2 комплектов батарей  "]
[1022472,"Eaton (Powerware) 9155-12I-N-0-32x0Ah","ИБП 12 кВА, 3ф/1ф, место для 1 комплекта батарей  "]
[1022473,"Eaton (Powerware) 9155-12I-N-0-64x0Ah","ИБП 12 кВА, 3ф/1ф, место для 2 комплектов батарей  "]
[1022474,"Eaton (Powerware) 9155-15I-N-0-32x0Ah","ИБП 15 кВА, 3ф/1ф, место для 1 комплекта батарей  "]
[1022475,"Eaton (Powerware) 9155-15I-N-0-64x0Ah","ИБП 15 кВА, 3ф/1ф, место для 2 комплектов батарей  "]
[]
[1022476,"Eaton (Powerware) 9155-8I-NC-0","ИБП 8 кВА, 3ф/1ф, без батарей"]
[1022477,"Eaton (Powerware) 9155-10I-NC-0","ИБП 10 кВА, 3ф/1ф, без батарей"]
[1022478,"Eaton (Powerware) 9155-12I-NC-0","ИБП 12 кВА, 3ф/1ф, без батарей"]
[1022479,"Eaton (Powerware) 9155-15I-NC-0","ИБП 15 кВА, 3ф/1ф, без батарей"]
[]
[1022883,"Eaton (Powerware) 9155-8I-N-0-32x0Ah-MBS","ИБП 8 кВА, 3ф/1ф, место для 1 комплекта батарей + MBS  "]
[1022884,"Eaton (Powerware) 9155-8I-N-0-64x0Ah-MBS","ИБП 8 кВА, 3ф/1ф, место для 2 комплектов батарей + MBS  "]
[1022885,"Eaton (Powerware) 9155-10I-N-0-32x0Ah-MBS","ИБП 10 кВА, 3ф/1ф, место для 1 комплекта батарей + MBS  "]
[1022886,"Eaton (Powerware) 9155-10I-N-0-64x0Ah-MBS","ИБП 10 кВА, 3ф/1ф, место для 2 комплектов батарей + MBS  "]
[1022887,"Eaton (Powerware) 9155-12I-N-0-32x0Ah-MBS","ИБП 12 кВА, 3ф/1ф, место для 1 комплекта батарей + MBS  "]
[1022888,"Eaton (Powerware) 9155-12I-N-0-64x0Ah-MBS","ИБП 12 кВА, 3ф/1ф, место для 2 комплектов батарей + MBS  "]
[1022889,"Eaton (Powerware) 9155-15I-N-0-32x0Ah-MBS","ИБП 15 кВА, 3ф/1ф, место для 1 комплекта батарей + MBS  "]
[1022890,"Eaton (Powerware) 9155-15I-N-0-64x0Ah-MBS","ИБП 15 кВА, 3ф/1ф, место для 2 комплектов батарей + MBS  "]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}