{"text_format":"2","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":47,"n_cols":3,"rows_kept":47,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
[null,"Наименование ","Расшифровка наименования."]
[null,null,"ИБП для паралелльной работы Hotsync, максимум 4 шт"]
[null,null,"Батарея считается при 100% нагрузке, power factor 0.7"]
[]
[1024209,"Eaton (Powerware) 9155-1x8-NHS-15-32x9Ah SYSTEM","ИБП 8 кВА, 3ф/1ф, батарея на 15 мин, 5 лет  "]
[1024213,"Eaton (Powerware) 9155-1x8-NHS-33-64x9Ah SYSTEM","ИБП 8 кВА, 3ф/1ф, батарея на 33 мин, 5 лет  "]
[1024217,"Eaton (Powerware) 9155-1x10-NHS-10-32x9Ah SYSTEM","ИБП 10 кВА, 3ф/1ф, батарея на 10 мин, 5 лет  "]
[1024221,"Eaton (Powerware) 9155-1x10-NHS-25-64x9Ah SYSTEM","ИБП 10 кВА, 3ф/1ф, батарея на 25 мин, 5 лет  "]
[1024225,"Eaton (Powerware) 9155-1x12-NHS-8-32x9Ah SYSTEM","ИБП 12 кВА, 3ф/1ф, батарея на 8 мин, 5 лет  "]
[1024229,"Eaton (Powerware) 9155-1x12-NHS-20-64x9Ah SYSTEM","ИБП 12 кВА, 3ф/1ф, батарея на 20 мин, 5 лет  "]
[1024233,"Eaton (Powerware) 9155-1x15-NHS-5-32x9Ah SYSTEM","ИБП 15 кВА, 3ф/1ф, батарея на 5 мин, 5 лет  "]
[1024237,"Eaton (Powerware) 9155-1x15-NHS-15-64x9Ah SYSTEM","ИБП 15 кВА, 3ф/1ф, батарея на 15 мин, 5 лет  "]
[]
[1024241,"Eaton (Powerware) 9155-1x8-NLHS-10-32x7Ah SYSTEM","ИБП 8 кВА, 3ф/1ф, батарея на 10 мин, 10 лет  "]
[1024245,"Eaton (Powerware) 9155-1x8-NLHS-28-64x7Ah SYSTEM","ИБП 8 кВА, 3ф/1ф, батарея на 28 мин, 10 лет  "]
[1024249,"Eaton (Powerware) 9155-1x10-NLHS-6-32x7Ah SYSTEM","ИБП 10 кВА, 3ф/1ф, батарея на 6 мин, 10 лет  "]
[1024253,"Eaton (Powerware) 9155-1x10-NLHS-20-64x7Ah SYSTEM","ИБП 10 кВА, 3ф/1ф, батарея на 20 мин, 10 лет  "]
[1024257,"Eaton (Powerware) 9155-1x12-NLHS-15-64x7Ah SYSTEM","ИБП 12 кВА, 3ф/1ф, батарея на 15 мин, 10 лет  "]
[1024261,"Eaton (Powerware) 9155-1x15-NLHS-10-64x7Ah SYSTEM","ИБП 15 кВА, 3ф/1ф, батарея на 10 мин, 10 лет  "]
[]
[1024265,"Eaton (Powerware) 9155-1x8-NHS-0-32x0Ah SYSTEM","ИБП 8 кВА, 3ф/1ф, место для 1 комплекта батарей"]
[1024269,"Eaton (Powerware) 9155-1x8-NHS-0-64x0Ah SYSTEM","ИБП 8 кВА, 3ф/1ф, место для 2 комплектов батарей"]
[1024273,"Eaton (Powerware) 9155-1x10-NHS-0-32x0Ah SYSTEM","ИБП 10 кВА, 3ф/1ф, место для 1 комплекта батарей  "]
[1024277,"Eaton (Powerware) 9155-1x10-NHS-0-64x0Ah SYSTEM","ИБП 10 кВА, 3ф/1ф, место для 2 комплектов батарей"]
[1024281,"Eaton (Powerware) 9155-1x12-NHS-0-32x0Ah SYSTEM","ИБП 12 кВА, 3ф/1ф, место для 1 комплекта  батарей "]
[1024285,"Eaton (Powerware) 9155-1x12-NHS-0-64x0Ah SYSTEM","ИБП 12 кВА, 3ф/1ф, место для 2 комплектов батарей  "]
[1024289,"Eaton (Powerware) 9155-1x15-NHS-0-32x0Ah SYSTEM","ИБП 15 кВА, 3ф/1ф, место для 1 комплекта батарей "]
[1024293,"Eaton (Powerware) 9155-1x15-NHS-0-64x0Ah SYSTEM","ИБП 15 кВА, 3ф/1ф, место для 2 комплектов батарей "]
[]
[1024297,"Eaton (Powerware) 9155-1x8-NCHS-0 SYSTEM","ИБП 8 кВА, 3ф/1ф, без батарей"]
[1024301,"Eaton (Powerware) 9155-1x10-NCHS-0 SYSTEM","ИБП 10 кВА, 3ф/1ф, без батарей"]
[1024305,"Eaton (Powerware) 9155-1x12-NCHS-0 SYSTEM","ИБП 12 кВА, 3ф/1ф, без батарей"]
[1024309,"Eaton (Powerware) 9155-1x15-NCHS-0 SYSTEM","ИБП 15 кВА, 3ф/1ф, без батарей"]
[]
[1026896,"Eaton (Powerware) 9155-8I-NTHS-0-32x0Ah","ИБП 8 кВА, 3ф/1ф, место для 1 комплекта батарей, с трансформатором"]
[1026897,"Eaton (Powerware) 9155-8I-NTHS-14-32x9Ah","ИБП 8 кВА, 3ф/1ф, батарея на 14 мин, с трансформатором"]
[1026898,"Eaton (Powerware) 9155-10I-NTHS-0-32x0Ah","ИБП 10 кВА, 3ф/1ф, место для 1 комплекта батарей, с трансформатором  "]
[1026899,"Eaton (Powerware) 9155-10I-NTHS-10-32x9Ah","ИБП 10 кВА, 3ф/1ф, батарея на 10 мин, с трансформатором"]
[1026900,"Eaton (Powerware) 9155-12I-NTHS-0-32x0Ah","ИБП 12 кВА, 3ф/1ф, место для 1 комплекта батарей, с трансформатором  "]
[1026901,"Eaton (Powerware) 9155-12I-NTHS-8-32x9Ah","ИБП 12 кВА, 3ф/1ф, батарея на 8 мин, с трансформатором"]
[1026902,"Eaton (Powerware) 9155-15I-NTHS-0-32x0Ah","ИБП 15 кВА, 3ф/1ф, место для 1 комплекта батарей, с трансформатором  "]
[1026903,"Eaton (Powerware) 9155-15I-NTHS-5-32x9Ah","ИБП 15 кВА, 3ф/1ф, батарея на 5 мин, с трансформатором"]
[]
[1026904,"Eaton (Powerware) 9155-8I-NTHS-0","ИБП 8 кВА, 3ф/1ф, без батарей с трансформатором"]
[1026905,"Eaton (Powerware) 9155-10I-NTHS-0","ИБП 10 кВА, 3ф/1ф, без батарей с трансформатором"]
[1026906,"Eaton (Powerware) 9155-12I-NTHS-0","ИБП 12 кВА, 3ф/1ф, без батарей с трансформатором"]
[1026907,"Eaton (Powerware) 9155-15I-NTHS-0","ИБП 15 кВА, 3ф/1ф, без батарей с трансформатором"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}